## Slide 1
Van Delivery Design Checklist - Construction Space Protection
Source: Van Delivery Site Design Checklist | Objective: protect Day 1 and full build-out space for van delivery
Checklist coverage used by Construction
1) Operational Requirements: 9 checks
2) Site Layout & Circulation: 8 checks
3) Building Interface: 9 checks
4) Parking & Stall Design: 5 checks
5) EV Readiness (Disclaimer: EV parking and/or charging must be 50+ feet away from the building): 7 checks
6) Utilities & Infrastructure: 5 checks
7) Safety & Separation: 5 checks
8) Security & Access Control: 4 checks
9) Climate & Weather: 4 checks
10) Scalability & Future Expansion: 4 checks
11) Cost & Tradeoff Alignment: 4 checks
Space-protect controls highlighted for Van Delivery
Total van stalls (Day 1) defined
Total van stalls (Full build-out) defined
Queueing space at peak dispatch (inbound/outbound)
Van traffic separated from truck / trailer traffic circulation
Van traffic separated from associate traffic circulation
Charging locations coordinated with parking layout
Space allocated for switchgear / transformers
Expansion capacity for van parking preserved
Recommendation: finalize Day 1 stalls, full build-out stalls, queueing, EV utility footprint, and expansion hold zones before design freeze.